## Slide 1: The Story Map
Image: Courtesy of the Nantucket Historical Association, 1880s
Notes: Jeremy

## Slide 2: Story Map Breakdown
Four Main sections:
  History of the Museum
  Looking Forward
  Hazards to the Complex
  Protecting the Museum
Notes: Jeremy

## Slide 3: History Timeline
Notes: John

## Slide 4
Notes: Jeremy

## Slide 5: Looking Forwards
“WATER IS COMING”
Notes: Jeremy

## Slide 6: Issues the Museum Complex Faces
Flood Damage
2017
Foundation Erosion
2022
Wind and Debris
Damage
2017
Interior Flood Damage
2022
Photos: McGrath Architecture and Samantha Turner

## Slide 7: Hazards to the Museum
1. Elevator shaft flooding
2. Groundwater intrusion through wall
3. Toilets overflow
4. Cold joint
5. North elevation doorway flooding
6. Downspouts
7. Low drainage through pavement
8. Cistern filling up
9. Dated pipes
10. Foundation erosion
11. Cracking due to portland cement
12. Electrical transformer box
Notes: st

## Slide 8: Current Flood Prevention Measures
Drop-in
Flood Barriers
Wet Vacs
Flood Sacks
Sandbags
Photos: McGrath Architecture, Ed Rudd and Samantha Turner
Notes: st

## Slide 9: Possible Solutions
Photo: Courtesy of the Nantucket Historical Association, December 1986
Notes: https://nantuckethistory.org:443/permalink/?key=6000_i21471

## Slide 10: Potential Mitigation Strategies Short Term (by 2030)
Landscape Adaptations
Dry Floodproofing
Elevation
Self-adhesive membrane
Evaluate wall integrity and repoint
Install backflow valves
Flood gate in lower level bathroom
Sump pump
Clear downspouts
Rain garden
Demolition and build elevated structure at 4 Whalers Lane
Notes: st

## Slide 11: Potential Mitigation Strategies Medium Term (2050-2070)
Dry Floodproofing
Wet Floodproofing / Elevation
Examine and maintain the structural integrity of the masonry
Structural reinforcement
Raise floor to allow water to flow underneath
Elevate Discovery Center to aid with absorption
Notes: st

## Slide 12: Potential Mitigation Strategies Long Term (2100+)
Elevation
Assess feasibility to elevate structure
Adaptation
Retrofit with a Buoyant Foundation.
Retreat
Relocate structure to preserve and protect
Notes: st

## Slide 13: Acknowledgements
Nantucket Historical Association
  Niles Parker
  Ed Rudd
  Staff of the Whaling Museum and Research Library
Vince Murphy
Holly Backus
Peter Morrison
Mary Novissimo
Advisors
  Bruce Bursten
  Dominic Golding
Photo: Ian Williams, January 2022

## Slide 14: Questions? Thank you
Photo: Ian Williams, January 2022
Notes: st
https://www.ack.net/stories/winter-storm-watch-friday-night-through-saturday,27370

## Slide 15
References:
Agresti, S. (n.d.). Illustration Of Amphibious Architecture - gif. A Floating House to Resist the Floods of Climate Change. Retrieved from https://www.newyorker.com/tech/annals-of-technology/a-floating-house-to-resist-the-floods-of-climate-change.
Backflow Valve. (n.d.). photograph. Retrieved from https://www.homedepot.com/p/OATEY-3-in-PVC-Backwater-Valve-43900/303424700..
Downspout. (n.d.). photograph. Retrieved from https://mastershield.com/downspout-facts/.
Petrella, L. (n.d.). Structural Reinforcement. photograph, Baltimore, MD; National Park Service. Retrieved from https://www.nps.gov/orgs/1739/upload/flood-adaptation-guidelines-2021.pdf.
Quick Dam Flood Gate. (n.d.). photograph. Retrieved from https://www.homedepot.com/p/Quick-Dam-Flood-Gate-Side-Rails-QDFGSIDES/306863276.
Rain Garden. (2019). photograph. Retrieved November 11, 2022, from https://rew-online.com/rain-garden-plan-will-kick-sewer-overflow-to-the-curb/.
Rudd, E. (n.d.). Enlargement - Bricks over North Elevation Doors Candle Factory. photograph.
Self Adhesive Membrane. (n.d.). photograph. Retrieved from https://www.waterproofmag.com/2013/01/choosing-a-peel-and-stick/.
Sump Pump. (n.d.). photograph. Retrieved from https://www.bobvila.com/articles/best-sump-pump/.
Turner, S. (2022). 4 Whalers Lane. photograph, Nantucket, MA.
Turner, S. (2022). Candle Factory - South Elevation. photograph, Nantucket, MA.
Turner, S. (2022). Candle Factory Lower Level Theater Area. photograph, Nantucket, MA.
Turner, S. (2022). Discovery Center - South Elevation. photograph, Nantucket, MA.
Walker Mansion Relocation. (n.d.). photograph, Edgeworth, PA. Retrieved from https://www.wolfehousebuildingmovers.com/project/walker-mansion-relocation/.
Nantucket Historical Association. (n.d.). Online Catalog. Nantuckethistory.org. Retrieved December 12, 2022, from https://nantuckethistory.org/
Photo: Ian Williams, January 2022